Explanatory notes to the Application Form
The application is not a civil law agreement. It is only the basis for preparing a quotation which will constitute the Annex to the Contract on certification with Notified Body PCBC upon written acceptance by the Applicant.

- Documents specified in the List of Documents (pages 6, 7, 8) shall not be attached to the Application Form but they shall be sent to PCBC within 30 days after signing of the Contract on EC certification.

- List of codes according to NBOG F 2012-1, NBOG F 2012-2, NBOG F 2012-3 (Jan 2013) (pages 9, 10) does not need to be attached to the Application.

- Applying for changes in certificate shall cause its withdrawal and issue of a new certificate with updated data.

- Authorized Representative shall also provide manufacturer’s data by completing the top table on page 1.

- Application form shall be signed by a person whose name is given in KRS (National Court Register) (or certificate of entry in the register of business activity) or by authorized person. It is also recommended to place a personal stamp of the person signing the Application and also the Applicant stamp.

- Completed and signed Application form shall be sent by fax, e-mail or by post to PCBC address.

- Instruction for Use or description of medical device and the EC Declaration of Conformity for the medical device submitted to certification shall be attached to the Application.

- Documentation of medical device may be provided in Polish or/and English language.

- OBL (Own Brand Labeller) Manufacturer is an entity introducing, under its own brand, medical devices which have already been subjected to conformity assessment and which bear CE-marking.

- Applicant identification

Manufacturer    Authorized representative

| The full name of Manufacturer: |
| --- |
| Country: |
| City: |  | Postal code: |
| Street, number: |  | PO box: |
| E-mail: |  | Website: |
| NIP (taxpayer ID no.) |  | REGON (national business registration no.): | KRS (National Court Register) no.: |
| Contact person: |
| Phone: | Fax: | E-mail: |

To be filled in by the Authorized Representative

| The full name of Authorized Representative: |
| --- |
| Country: |  |
| City: |  | Postal code: |
| Street, number: |  | PO box: |
| E-mail: |  | Website: |
| NIP (taxpayer ID no.) |  | REGON (national business registration no.): | KRS (National Court Register) no.: |
| Contact person: |
| Phone: | Fax: | E-mail: |

- Identification of medical device submitted for certification

Trade name of medical device:

Other names of medical device (if applicable):

Type/model/variants of product: in Polish (if applicable):

Number of types/models/variants:

Trade mark ™

Serial number(s):

Lot number1:

Custom-made device YES NO

System or procedure packs YES NO

| EC assessment: first, next for the same device, change |
| --- |
| EC Certificate No.: valid until: [yyyy/mm/dd] Notified Body No.: 1434 Contract No: BR-00/MD-00/RRRR or MD-00/RRRR dated: [yyyy/mm/dd] |
| 93/42/EEC – MDD – Medical Devices Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of medical devices | Annex II, excluding section 4 Annex II, section 4 Annex III Annex IV Annex V Annex VI | Class I Class I sterile Class I with a measuring function Class I with a measuring function, sterile Sterile systems and procedure packs Class IIa Class IIb Class III |
| Rule No.: according to the Regulation of the Minister of Health of 5 November 2010 on methods of medical device classification |  |  |
| 98/79/EC – IVDD – In vitro diagnostic medical devices Regulation of the Minister of Health of 12 January 2011 on essential requirements and conformity assessment procedures of in vitro diagnostic medical devices | Annex III, section 6 Annex IV, excluding section 4 and 6 Annex IV, section 4 Annex IV, section 6 Annex V Annex VI Annex VII | List A List B for self-testing |
| 90/385/EEC – AIMDD – Active implantable medical devices Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of active implantable medical devices | Annex II, section 4 Annex II, excluding section 4 Annex III Annex IV Annex V |  |
| Does a product fall under the medical device definition? (to be filled in by PCBC’s employee) | YES | NO ……………………………………… Signature of MC Manager/ BM Vice-Director |
| Verification of classification/qualification (to be filled in by PCBC’s employee) | correct | incorrect Correct according to PCBC ……………………………………… Signature of MC Manager/ BM Vice-Director |
| Change in contents of EC Certificate No.: ***) information on change in contents of the certificate | Applicant’s address Applicant’s name3 Legal status3 Name of medical device4 Extension of the device variant Other, what? (include detailed description) |

- Information about the stages of product realization

| Stages of product realization | Name and address of the site of product realization stage | Number of employees involved in each stage of product realization |
| --- | --- | --- |
| Design |  |  |
| Manufacture |  |  |
| Final testing |  |  |
| Sterilization |  |  |
| Packaging |  |  |
| Storage |  |  |
| Distribution |  |  |
| Service |  |  |
| Other stages: |  |  |
| Total number of employees involved in all stages of product realization |  |
|  | Is the Applicant an OBL Manufacturer? YES NO |

- Information on certificate contents

| Proposal of EC Certificate content | Polish language English language |
| --- | --- |
| Name of medical device in Polish |  |
| Name of medical device in English |  |

- Information on medical device

| disposable product | marketed as a sterile | active device |
| --- | --- | --- |
| reusable product | marketed as a non-sterile | non-active device |
| possible recycling of the product | product for multiple sterilization | device with a measuring function |
| required supervision of medical waste | steam sterilization | equipment supplied with the device |
| leaflet required | ethylene oxide sterilization | equipment supplied separately |
| manual service required | sterilization by radiation | acts in combination with another device |
| invasive device | disinfected product | product as a set |
| non-invasive device | for temporary use | device contains external power supply |
| surgically invasive device | for short-term use | device contains an internal power supply |
| implantable device | for long-term use | device includes software |
| device intended to be fully absorbed | device contains medicinal substances | device contains electronic programmable systems |
| product contains biologically active materials covering or being absorbed part or in whole | device contains stable derivatives of human blood or human plasma (blood product) | product utilizing or controlled by computer software |
| device with an expiration date | device contains animal tissues | product emits ionizing radiation |
| in vitro diagnostic device | product contains phthalates | product emits other radiation than ionizing radiation |
| in vitro for self-diagnosis | product contains nanomaterials | product to diagnostic radiology |
| devices containing coating materials | active device for implantation | product using the micromechanisms |

| Description of the device (a brochure and a service manual in Polish or English shall be attached) |  |
| --- | --- |
| What is the intended use of the device? |  |
| What accessories are supplied with the device? |  |
| Will accessories be sold separately? |  |
| What kinds of materials are used (only for non-active devices: animal tissues, metal, plastic etc.)? |  |
| On which European Union markets will the product be marketed? Please provide the name and country code. |  |
| Was the product placed on the market? | NO YES from to |
| How long is the device on the market? | New device for years |
| On which European Union markets is the device marketed? |  |
| For the device which is marketed, please provide the Notified Body which conducted the conformity assessment procedure |  |
| What is the reason for transfer of product certification to PCBC? |  |
| Has an application for certification been submitted to any other Notified Body? | NO YES Application was submitted to Notified Body No. |
| If “YES”, provide the reasons. |  |
| Has another Notified Body rejected the application for certification of the product concerned? |  |
| If “YES”, provide reason for rejection of the application for product certification? |  |
| Have any medical incidents related to the applied product occurred? |  |

- Information on the Applicant Quality Assurance System

| Is the Quality Assurance System of the Company certified? | YES NO |
| --- | --- |
| PN-EN ISO 13485 / ENISO 13845 | Certificate No: Validity date of the Certificate: Issued by: |
| PN-EN ISO 9001 / EN ISO 9001 | Certificate No: Validity date of the Certificate: Issued by: |
| Good Manufacturing Practice (GMP) | Certificate No: Validity date of the Certificate: Issued by: |
| Other | Certificate No: Validity date of the Certificate: Issued by: |
| Does the Company work in shift system? | YES NO |
| Is which language the documentation for assessment in prepared? | Polish English |

- Information on product code

| Code name (tick appropriate code with „x”) | Code | Generic name by code (in English) |
| --- | --- | --- |
| GMDN (AIMDD, MDD)* |  |  |
| UMDNS (AIMDD, MDD) |  |  |
| EDMS (IVDD) |  |  |
| * GMDN code is preferred |

- Information on MD codes of product in comply with the List of MD codes according to NBOG F 2012-1, NBOG F 2012-2, NBOG F 2012-3 (Jan 2013) (listed on page 10 and 11 of the Application)

| Code name | MD Code | Generic name by code |
| --- | --- | --- |
| MD (MDS, AIMD, IVD)* |  |  |
| * Delete unnecessary |

| Place and date of completion of the Application ……………………………………………... Name of Authorized Person ……………………………………………. Authorized Person signature …………………………………………………………. | Applicant Company stamp |
| --- | --- |

Pursuant to Art. 24 para. 1 of the Act of 29 August 1997 on the Protection of Personal Data (Journal of Laws of the Republic of Poland 2016, item 922), the Polish Centre for Testing and Certification with its registered office in Warsaw at 23a Kłobucka Street, 02-699 Warsaw, informs that your personal data will be processed to conclude and execute the Contract for product certification and to maintain contact with you and after termination of the Contract your data will be stored for archival purposes. Data submission is voluntary and arises from the need of precise identification of parties to the contract and the execution of the Contract for product certification and financial settlements between the parties to such contracts will be impossible without these data. The PCBC informs also that it is possible to make your personal data available for purposes of accreditation performed by the employees of the Polish Centre for Accreditation at PCBC. You have right to access your data processed by the PCBC and to correct them. The PCBC has a right to process your data in case of delay in payment due under the Contract to the PCBC and in this case the data can be made available to the competent court.

Yes, I voluntarily agree for sending electronic certification process documentation by the PCBC to contact person.

Yes, I voluntarily agree for sending marketing offer by the PCBC to e-mail address provided by me.

LIST OF DOCUMENTS

to be submitted to the Notified Body (NB) PCBC for conformity assessment of the medical device

according to the Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of medical devices (Directive 93/42/EEC) and the Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of active implantable medical devices (Directive 90/385/EEC)

| No. | Required documents |
| --- | --- |
| 1 | Statements and commitments | The copy of National Court Register document or certificate of entry in the register of business activity |
| 2 |  | The written declaration that no application for product assessment has been submitted to another Notified Body |
| 3 |  | The written declaration that no medical incidents involving the medical device applied for certification have been occurred |
| 4 |  | The Manufacturer’s commitment to maintain the procedures of regular review of experience gained with the device subsequent to its being placed on the market |
| 5 |  | The Manufacturer’s commitment to fulfil the obligations resulting from his Quality Assurance System |
| 6 |  | The Manufacturer’s commitment to maintain the effectiveness of the Quality Assurance System |
| 7 |  | The Manufacturer’s commitment to maintain the procedure in accordance with the chapter 9 of the Act on Medical Devices (the Polish Act) in case of receiving an information on medical incident |
| 8 |  | The written statement whether the medical device contains tissues of animal origin; fata from conducted risk analysis and risk management (Commission Regulation (EU) No. 722/2012 of 8 August 2012 concerning particular requirements as regards the requirements laid down in Council Directives 90/385/EEC and 93/42/EEC with respect to active implantable medical devices and medical devices manufactured utilising tissues of animal origin (if applicable) |
| 9 |  | The written statement whether the medical device contains the medicinal substance and the data from tests conducted due to such combination |
| 10 |  | The written statement whether the medical device contains the human blood derivatives and the data from tests conducted due to such combination |
| 11 |  | The Authorised Representative’s written statement concerning cooperation with Manufacturer (if applicable) |
| 12 | Technical documentation of the medical device | The description of the type of product including variants and the list of differences between variants, technical specification, intended use |
| 13 |  | Medical device classification, rule in accordance with Directive 93/42/EEC, the Regulation of the Minister of Health of 5 November 2010 on methods of medical device classification (Journal of Laws of the Republic of Poland No. 215, item 1416) and Manual on borderline and classification in the community, regulatory framework for medical devices version 1.17 (09-2015) |
| 14 |  | The essential requirements checklist (Annex 1 to the Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of medical devices as amended (Journal of Laws of the Republic of Poland 2016, item 211) |
| 15 |  | The design drawings, the specifications of components and parts, circuit diagrams |
| 16 |  | The results of the design calculations |
| 17 |  | Validation of the manufacturing process |
| 18 |  | The list of harmonized standards applied in whole or in the part and other applied standards and requirements |
| 19 |  | Description of meeting the essential requirements, if they are not based only on the harmonized standards |
| 20 |  | Testing of raw materials and materials including: test results of the raw materials used to manufacture a medical device, material attestations and certificates, quality certificates and material and raw material characteristics |
| 21 |  | Reports from accredited laboratories on testing for conformity with harmonized standards |
| 22 |  | List of conducted product/raw material/material testing, with indication of accredited laboratories and scope of accreditation, any certificates of these laboratories |
| 23 |  | Declaration of conformity of the medical device |
| 24 |  | Risk management and risk analysis, including: Report of risk analysis for conformity with PN-EN ISO 14971/EN ISO 14971 |
| 25 |  | Biocompatibility evaluation of medical devices in accordance with PN-EN ISO 10993-1/EN ISO 10993-1 |
| 26 |  | Safety assessment, including technical and functional evaluation of medical devices safety, technical and functional evaluation of processed medical devices safety, biological, physical and electrical safety, restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS2) in accordance with Directive 2011/65/EU of the European Parliament and of the Council of 8 June 2011 on the restriction of use of certain hazardous substances in electrical and electronic equipment (if applicable) |
| 27 |  | Evaluation of product usability in accordance with PN-EN 62366 (if applicable) |
| 28 |  | Verification and validation of software (if applicable) |
| 29 |  | Validation of measurement methods for products with a measuring function (if applicable) |
| 30 |  | Validation of the sterilization process including: Report of product sterilization validation which contains: installation qualification, operational qualification and process qualification, microbiological validation (if applicable) |
| 31 |  | Documentation of the medicinal substance according to MEDDEV 2.1/3 rev 3 (if applicable) |
| 32 |  | Documentation of substance being derivative from human blood, processing of tissues, cells and substances of human origin (if applicable) |
| 33 |  | Documentation of animal tissues in medical product according to Commission Regulation (EU) No 722/2012 of 8 August 2012 concerning particular requirements as regards the requirements laid down in Council Directives 90/385/EEC and 93/42/EEC with respect to active implantable medical devices and medical devices manufactured utilising tissues of animal origin (if applicable) |
| 34 |  | EDQM Certificate (if applicable) |
| 35 |  | Preclinical evaluation |
| 36 |  | The clinical evaluation (according to the Regulation of the Minister of Health of 10 March 2011 on specific conditions to be met by clinical evaluation of medical devices or active implantable devices (Journal of Laws of the Republic of Poland 2011 No. 63, item 922) |
| 37 |  | A draft marking (label), package (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 38 |  | Instructions for use of a medical device (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 39 |  | Brochures, folders, presentations and other promotional materials concerning medical devices prepared by the Applicant (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 40 |  | Stability tests – test report (if applicable) |
| 41 |  | List of all suppliers and subcontractors, indicating key critical suppliers/subcontractors; certificates of suppliers/subcontractors (if applicable) |
| 42 | Manufacturer Quality Assurance System Documentation | Quality Manual + Quality Policy and Objectives |
| 43 |  | Organizational chart and responsibilities and competencies of the management |
| 44 |  | Document and record control procedure |
| 45 |  | Risk management procedure |
| 46 |  | Procedure for the design of medical device |
| 47 |  | Procedure for the purchasing and subcontractors’ control |
| 48 |  | Non-complying device control procedure |
| 49 |  | Corrective and preventive actions procedure |
| 50 |  | Servicing procedure (if applicable) |
| 51 |  | Sterilization procedure (if applicable) |
| 52 |  | Product identification and traceability procedure |
| 53 |  | Product security procedure |
| 54 |  | Measuring equipment supervision procedure |
| 55 |  | Procedure for obtaining the feedback from users concerning product (data analysis) |
| 56 |  | Procedure for the testing of medical device during the manufacture process or/and testing of final product |
| 57 |  | Internal audit procedure |
| 58 |  | Product measurement procedure |
| 59 |  | Procedure for issuance and implementation of advisory notes |
| 60 |  | Procedure for dealing in case of medical incidents |
| 61 |  | Procedure for regular review of experience gained with the device subsequent to its being placed on the market |

according to Regulation of the Minister of Health of 12 January 2011 on essential requirements and conformity assessment procedures of in vitro diagnostic medical devices (Directive 98/79/EC)

| No. | Required documents |
| --- | --- |
| 1 | Statements and Comnitments | The copy of National Court Register document or certificate of entry in the register of business activity |
| 2 |  | The written declaration that no application for product assessment has been submitted to another Notified Body |
| 3 |  | The written declaration that no medical incidents involving the medical device applied for certification have been occurred |
| 4 |  | The Manufacturer’s commitment to maintain the procedures of regular review of experience gained with the in vitro diagnostic medical device subsequent to its being placed on the market |
| 5 |  | The Manufacturer’s commitment to fulfil the obligations resulting from his Quality Assurance System |
| 6 |  | The Manufacturer’s commitment to maintain the effectiveness of the Quality Assurance System |
| 7 |  | The Manufacturer’s commitment to maintain the procedure in accordance with the chapter 9 of the Act on Medical Devices (the Polish Act) in case of receiving an information on medical incident |
| 8 |  | The Authorised Representative’s written statement about cooperation with Manufacturer (if applicable) |
| 9 | Technical documentation of the medical device | The description of the type of product including variants and the list of differences between variants |
| 10 |  | The essential requirements checklist (Annex 1 to the Regulation of the Minister of Health of 17 February 2016 on essential requirements and conformity assessment procedures of in vitro diagnostic medical devices as amended (Journal of Laws of the Republic of Poland 2016, item 211) |
| 11 |  | The design drawings, the specifications of components and parts, circuit diagrams |
| 12 |  | The results of the design calculations |
| 13 |  | Diagram of the manufacturing process including the mid-production inspection with indication of subcontracted stages |
| 14 |  | The list of harmonized standards applied in whole or in the part and other applied standards |
| 15 |  | Description of meeting the essential requirements, if they are not based only on the harmonized standards |
| 16 |  | Test reports showing conformity with requirements of harmonized standards and/or Common Technical Specifications |
| 17 |  | Performance evaluation data confirming parameters declared by the manufacturer |
| 18 |  | Stability testing data confirming the stability declared by the manufacturer |
| 19 |  | Report of testing with participation of non-professional users (if applicable) |
| 20 |  | Declaration of conformity of the in vitro diagnostic medical device |
| 21 |  | Risk management and risk analysis, including: Report of risk analysis for conformity with PN-EN ISO 14971/EN ISO 14971 |
| 22 |  | A draft marking (label), package (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 23 |  | Instructions for use of a medical device (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 24 |  | Information on the in vitro diagnostic medical device restrictions |
| 25 |  | Information on the origin and conditions under which human tissues are derived or substances derived from these tissues - refers to medical devices containing human tissues or substances derived from these tissues |
| 26 |  | Brochures, folders, presentations and other promotional materials concerning in vitro diagnostic medical devices prepared by the Applicant (in case of translation of information documents, a formal confirmation from translation agency shall be attached) |
| 27 |  | List of all suppliers and subcontractors, indicating key critical suppliers/subcontractors; certificates of suppliers/subcontractors (if applicable) |
| 28 |  | Product sample to be consulted with the PCBC |
| 29 | Manufacturer Quality Assurance System documentation | Quality Manual + Quality Policy and Objectives |
| 30 |  | Organizational chart and responsibilities and competencies of the management |
| 31 |  | Document and record control procedure |
| 32 |  | Risk management procedure |
| 33 |  | Designing procedure |
| 34 |  | Manufacture procedure |
| 35 |  | Procedure for the purchasing and subcontractors’ control |
| 36 |  | Non-complying device control procedure |
| 37 |  | Corrective and preventive actions procedure |
| 38 |  | Servicing procedure (if applicable) |
| 39 |  | Sterilization procedure (if applicable) |
| 40 |  | In vitro diagnostic medical device identification and traceability procedure |
| 41 |  | Product security procedure |
| 42 |  | Measuring equipment supervision procedure |
| 43 |  | Procedure for obtaining the feedback from users concerning product (data analysis) |
| 44 |  | Procedure for the testing of in vitro diagnostic medical device during the manufacture process or/and testing of final product |
| 45 |  | Internal audit procedure |
| 46 |  | Product measurement procedure |
| 47 |  | Procedure for issuance and implementation of advisory notes |
| 48 |  | Procedure for dealing in case of medical incidents |
| 49 |  | Procedure for regular review of experience gained with the device subsequent to its being placed on the market |

List of codes according to NBOG F 2012-1, NBOG F 2012-2, NBOG F 2012-3 (Jan 2013)

| Code | Name by code |
| --- | --- |
| MD 0000 | Medical devices non-active, 93/42/EEC |
| MD 0100 | General non-active, non-implantable medical devices |
| MD 0101 | Non-active devices for anaesthesia, emergency and intensive care |
| MD 0102 | Non-active devices for injection, infusion, transfusion and dialysis |
| MD 0103 | Non-active orthopaedic and rehabilitation devices |
| MD 0104 | Non-active medical devices with measuring function |
| MD 0105 | Non-active ophthalmologic devices |
| MD 0106 | Non-active instruments |
| MD 0107 | Contraceptive medical devices |
| MD 0108 | Non-active medical devices for disinfecting, cleaning, rinsing |
| MD 0110 | Non-active medical devices for ingestion |
| MD 0200 | Non-active implants |
| MD 0201 | Non-active cardiovascular implants |
| MD 0202 | Non-active orthopaedic implants |
| MD 0203 | Non-active functional implants |
| MD 0204 | Non-active soft tissue implants |
| MD 0300 | Devices for wound care |
| MD 0301 | Bandages and wound dressings |
| MD 0302 | Suture material and clamps |
| MD 0303 | Other medical devices for wound care |
| MD 0400 | Non-active dental devices and accessories |
| MD 0401 | Non-active dental equipment and instruments |
| MD 0402 | Dental materials |
| MD 0403 | Dental implants |
| MD 1000 | Medical devices, active, 93/42/EEC |
| MD 1100 | General active medical devices |
| MD 1101 | Devices for extra-corporal circulation, infusion and haemopheresis |
| MD 1102 | Respiratory devices, devices including hyperbaric chambers for oxygen therapy, inhalation anaesthesia |
| MD 1103 | Devices for stimulation or inhibition |
| MD 1104 | Active surgical devices |
| MD 1105 | Active ophthalmologic devices |
| MD 1106 | Active dental devices |
| MD 1107 | Active devices for disinfection and sterilisation |
| MD 1108 | Active rehabilitation devices and active prostheses |
| MD 1109 | Active devices for patient positioning and transport |
| MD 1111 | Software |
| MD 1112 | Medical gas supply systems and parts thereof |
| MD 1200 | Devices for imaging |
| MD 1201 | Imaging devices utilising ionizing radiation |
| MD 1202 | Imaging devices utilising non-ionizing radiation |
| MD 1300 | Monitoring devices |
| MD 1301 | Monitoring devices of non-vital physiological parameters |
| MD 1302 | Monitoring devices of vital physiological parameters |
| MD 1400 | Devices for radiation therapy and thermo terapy |
| MD 1401 | Devices utilising ionizing radiation |
| MD 1402 | Devices utilising non-ionizing radiation |
| MD 1403 | Devices for hyperthermia/hypothermia |
| MDS 7000 | Specifics of medical devices, 93/42/EEC and 90/ 385/EEC |
| MDS 7001 | Medical devices incorporating, medicinal substances, according to Directive 2001/83/EC |
| MDS 7002 | Medical devices utilising tissues of animal origin, including Commission Regulation (EU) No 722/2012 |
| MDS 7003 | Medical devices incorporating derivates of human blood, according to Directive 200/70/EC, amended by Directive 2001/104/EC |
| MDS 7004 | Medical devices referencing the Directive 2006/42/EC on machinery |
| MDS 7006 | Medical devices in sterile condition |
| MDS 7007 | Medical devices utilising micromechanics |
| MDS 7008 | Medical devices utilising nanomaterials |
| MDS 7009 | Medical devices utilising biological active coatings and/ or materials or being wholly or mainly absorbed |
| MDS 7010 | Medical devices incorporating software/ utilising software/ controlled by software |
| AIMD 0000 | General active implantable medical devices, 90/385/EEC |
| AIMD 0100 | General active implantable medical devices |
| AIMD 0101 | Active implantable medical devices for stimulation/ inhibition |
| AIMD 0103 | Active implantable medical devices substituting or replacing organ functions |

| Code | Name by code |
| --- | --- |
| IVD 0000 | In vitro diagnostic medical devices, 98/79/EC |
| IVD 0100 | List A – Reagents and reagent products, including related calibrators and control materials, for determining the following blood group |
| IVD 0101 | AB0 system |
| IVD 0102 | Rhesus (C, c, D, E, e) |
| IVD 0103 | Anti-Kell |
| IVD 0200 | List A – Reagents and reagent products, including related calibrators and control materials, for the detection, confirmation and quantification in human specimens of markers |
| IVD 0201 | HIV infection (HIV 1 i 2) |
| IVD 0202 | HTLV I i II |
| IVD 0203 | Hepatitis B, C and D |
| IVD 0300 | List – B Reagents and reagent products and devices for self – diagnosis, including related calibrators and control materials, for determining, detection, quantification, diagnosing, evaluating |
| IVD 0301 | Anti-Duffy and anti-Kidd |
| IVD 0302 | Irregular anti-erythrocytic antibodies |
| IVD 0303 | Congenital infections: rubella, toxoplasmosis |
| IVD 0304 | Hereditary disease: phenylketonuria |
| IVD 0305 | Human infections: cytomegalovirus, chlamydia |
| IVD 0306 | HLA tissue groups: DR, A, B |
| IVD 0307 | Tumoral marker: PSA |
| IVD 0309 | Device for self-diagnosis: device for measurement of blood sugar |
| IVD 0400 | Devices for self-diagnosis |
| IVD 0401 | Clinical chemistry |
| IVD 0402 | Haematology |
| IVD 0403 | Immunology |
| IVD 0404 | Molecular biology |
| IVD 0405 | Pregnancy and ovulation |
| IVD 0406 | Specimen receptacles |
| MDS 7200 | Specifics of in vitro diagnostic medical devices, 98/79/EC |
| MDS 7205 | IVDs incorporating software / utilising software / controlled by software |
| MDS 7206 | IVDs in sterile condition |
| MDS 7208 | IVDs utilising nanomaterials |
| MDS 7209 | IVDs utilising biological active coacting and/or material |
| MDS 7210 | IVDs utilising material of human origin |

# Footnotes

Only for Annex IV according to Directive 93/42/EEC, Directive 90/385/EEC and Annex VI according to 98/79/EC.

Without involvement of Notified Body.

Required KRS copy attached to the Application.

Required explanation attached to the Application.

All production sites (including production of components and special processes) shall be specified.